## Slide 1: Energetic Simulation
TECHNICAL ENVIRONMENTAL SYSTEMS

## Slide 2
WALL 1
WALL 2
WALL 3
Stucco
Concrete wall
Insulated board: foam
TYPES OF WALLS
PIACENZA
NEW YORK
KUWAIT
CITIES
3 m

## Slide 3
Wall 1
Total energy GJ
1 435.64
District cooling consumption (MBtu)
District heating consumption (MBtu)
PIACENZA
Max. Temperature: 33.1°C
Min. Temperature: -6°C
Latitude: 44.92°
Longitude: 9.73°
End uses (annual overview)
U Factor no Film (W/M2-K)
4.055

## Slide 4
Total energy GJ
1 266.64
PIACENZA
Max. Temperature: 33.1°C
Min. Temperature: -6°C
Latitude: 44.92°
Longitude: 9.73°
Wall 2
U Factor no Film (W/M2-K)
0.879
District cooling consumption (MBtu)
District heating consumption (MBtu)
End uses (annual overview)

## Slide 5
Total energy GJ
1 231.24
PIACENZA
Max. Temperature: 33.1°C
Min. Temperature: -6°C
Latitude: 44.92°
Longitude: 9.73°
Wall 3
U Factor no Film (W/M2-K)
0.507
District cooling consumption (MBtu)
District heating consumption (MBtu)
End uses (annual overview)

## Slide 6
KUWAIT
Wall 1
U Factor no Film (W/M2-K)
4.055
Max. Temperature: 46°C
Min. Temperature: 8°C
Latitude: 47.65°
Longitude: 29.33°
860.58
Total energy GJ

## Slide 7
KUWAIT
Wall 2
Total energy GJ
U Factor no Film (W/M2-K)
0.879
Max. Temperature: 46°C
Min. Temperature: 8°C
787.64
Latitud: 47.65°
Longitude: 29.33°

## Slide 8
KUWAIT
Max. Temperature: 46°C
Min. Temperature: 8°C
Wall 3
Total energy GJ
U Factor no Film (W/M2-K)
0.507
783.08
Latitud: 47.65°
Longitude: 29.33°

## Slide 9
Wall 1/ New York
1564.04
NEW YORK
Max. Temperatue: 26°C
Min. Temperature: 8°C
Latitude: 40.66°
Longitude: -73.93°
Wall 1
Total energy GJ
U Factor no Film (W/M2-K)
4.055

## Slide 10
1378.52
Wall 2/ New York
NEW YORK
Wall 2
Total energy GJ
Max. Temperatue: 26°C
Min. Temperature: 8°C
U Factor no Film (W/M2-K)
0.879
Latitude: 40.66°
Longitude: -73.93°

## Slide 11
1343.50
NEW YORK
Wall 3
U Factor no Film (W/M2-K)
0.507
Total energy GJ
Max. Temperatue: 26°C
Min. Temperature: 8°C
Latitude: 40.66°
Longitude: -73.93°

## Slide 12
Chart: ANNUAL CONSUMPTION BY CATEGORY
| Design 1 (Heating) | Design 1 (Cooling) | Design 2 (Heating) | Design 2 (Cooling) | Design 3 (Heating) | Design 3 (Cooling)
Piacenza | 276.56 | 59.65 | 232.36 | 50.85 | 223.14 | 48.87
New York | 303.85 | 87.88 | 256.09 | 75.6 | 247.09 | 73.24
Kuwait | 19.94 | 393.28 | 19.55 | 325.5 | 21.72 | 313.78
Conclusion
Net Source Energy |  |  | 
 | Piacenza | New York | Kuwait
Wall 1 | 1435.64 GJ | 1564.04 GJ | 860.58 GJ
Wall 2 | 1266.64 GJ | 1378.52 GJ | 787.64 GJ
Wall 3 | 1231.24 GJ | 1343.50 GJ | 783.08 GJ
The lowest value: 783.08 GJ - Kuwait
The highest value: 1564.04 GJ - New York
From the table we have the values of the total amount of fuel consumed to operate the building with regards of transmission, delivery, and production losses.
Kuwait has the lowest value with wall 3, meaning that insulated walls in hot weathers is efficient and wastes low amount of energy.
New York has the highest value with wall 1, which means that wall 1 is wasting much energy, as NY is a cold city.